## Slide 1: Peer Stakeholder-Product Validation Review (PS-PVR) G19 MPS-Hi Provisional Validation SWPC Overview
February 14, 2025
Presenter: Steve Hill
These GOES-19 data are preliminary, non-operational data and are undergoing testing. Users bear all responsibility for inspecting the data prior to use and for the manner in which the data are utilized.

## Slide 2: G19 MPS-Hi Provisional Validation SWPC Overview
Instrument
  Provides data for critical >2 MeV electron alert at 1000 pfu
Primary Uses
  Satellite industry: Deep Charging
Requirements
  Derived from 2002 user-requirements workshop
Supported by
  2017 Abt Report: Space Weather Economic Impacts
  National Space Weather Strategy and Action Plan
  2023 Satellite Environment Testbed Exercise

## Slide 3: Space Weather Economic Impacts Abt Associates, 2017
MPS-Hi measures a component of the in-situ radiation environment responsible for spacecraft charging that can result in satellite-system anomalies and failure

## Slide 4
Defensive Investments: “… to protect the integrity of satellites from high cumulative radiation dosages and from anomalous satellite behaviors that can be caused by surface- and deep-dielectric charging.”
Mitigating Actions: “Assessment conducted after any anomalous satellite behavior”
Satellite Impact Matrix
Space Weather Economic Impacts Abt Associates, 2017

## Slide 5
Action 2.11.6: DOC, in coordination with NASA and DoD, develop a plan for a robust real-time assimilative environmental specification model such that it supports 1) Nowcasting of the space environment, and 2) Analysis and attribution of spacecraft anomalies due to routine and extreme space weather
MPS-HI will be an important data source for this data assimilative environmental model
National Space Weather Strategy and Action Plan

## Slide 6: G19 MPS-Hi Provisional Validation PS-PVR SWPC Summary
MPS-Hi maintains the critical capability to provide >2 MeV electron alerts warning of the potential for deep charging events
SWPC concurs with NCEI’s recommendation for MPS-Hi to transition to Provisional Validation status.
  ADR 863 is important to ensure continuity of MPS-Hi measurements in the event of SGPS failure.
  MPS-Hi – SGPS channel disagreement and possible degradation of MPS-Hi proton channels should be further investigated.
SWPC is highly appreciative of the excellent work and diligence provided by NCEI, as well as the support provided by ATC and the entire GOES project